## Slide 1
Innovation is in our lifeblood

## Slide 2: Endtest Project Update 23.5.2019
By Austin Ibele

## Slide 3: Agenda
Overview of Projects
Project Status
Future

## Slide 4: Overview of Reccomendations
Documentation
  Computer Data Entry NEW (90%)
  Computer Defect Tracking NEW (75 %)
  Document Processes (50%)
  Sensarray Text Recognition NEW (10%)
Quality Assurance
  Check Labels with Image Recognition NEW (75%)
Optimization
  Electric screwdriver (management decision)
Automation
  “Doc Generator V2”/XLS data validation (complete)
  Pipe Auftrags to Seriennummern XLS (90%)
  Automate temperature uniformity and heating/cooling curves (not started because Paddy’s workload)
  Label printer (X canceled – UL concerns)
  Automate temperature display calibration (Software department has same idea for HTU chucks)
Process Change
  New controllers for Chuck department and more intensive testing (management decision)
  Final visual check/signoff (management decision)
  Separate person for packing/shipping/system inspection (management decision)

## Slide 5: Documentation-Related Suggestions

## Slide 6: Computer Data Entry
What:
  Graphical Application for Temperature/Planarity/PT100 tests
  Identifies out-of-spec values
  Computer generates test protocols
  Saves all data in spreadsheets
  Makes later data analysis possible
Work Remaining:
  Allow for multiple users at once
  Save both in-spec and out-of-spec data
  Test in variety of conditions
  Translate
  Document Code and Implement

## Slide 7: Computer Defect Tracking
What:
  Graphical Application for documenting quality issues discovered in production
  Document and describe defect by both LF and component
  Records „user“ so reports can be tracked to employee
Work Remaining:
  Do we want to do this?
  If so, brainstorm additional functionality that we want
  Build functionality
  How will Manfred track?
  Document and implement

## Slide 8: Document Process
What:
  Create documentation describing Endtest
  Create procedures documents
  Assist others to perform Endtest duties
Work Remaining:
  For common procedures complete but missing fine details
  Documentation for less common procedures missing
  Needs to be translated
  Better to be completed by someone else (e.g. Matthias)

## Slide 9: Sensarray Text Recognition
What:
  Read Sensarray Display using HD camera and text recognition
  Automate collection of uniformity data
  Have true data instead of only a snapshot
Work Remaining:
  Reliably identify text locations (paint white?)
  Extract text and test accuracy
  Integrate into Data Collection Program

## Slide 10: Quality-Assurance Suggestions

## Slide 11: Label Verification with Text Recognition
What:
  Read labels using camera and text recognition
  Check accuracy of Serial Number
  Build into Data Entry Program? Tablet would be ideal..
Work Remaining:
  Sucessful recognition complete
  Test Accuracy from different perspectives/light conditions
Notes: https://www.amazon.com/Windows-Fusion5-Ultra-Design-Tablet/dp/B00YCX7SGU/ref=sr_1_3?keywords=windows+10+tablet&qid=1552466918&s=electronics&sr=1-3

## Slide 12: Optimization-Related Suggestions

## Slide 13: Electric Screwdriver
What:
  Electric screwdriver to save time
  Cheap and easy to implement
  Discussed Before
Work Remaining:
  Management Decision

## Slide 14: Automation-Related Suggestions

## Slide 15: ”Doc Generator V2”/XLS data validation
What:
  Further improve accuracy/time savings of „Endtest Document Generator“ tool
  Merge many PDFs into a single document for eaiser printing
  Create macros in „Seriennummern“ spreadsheet to prevent entry
  of incorrect information
  Incorporated MPI order # into documents
  Complete

## Slide 16: Pipe Auftraegslist to Seriernnummern XLS
What:
  Take data from Auftraegslist (assumed to be accurate) and move to location that Nuhan‘s computer can acess
  Import data into Seriernnummern XLS that Nuhan uses
  Further reduce innacurate manual data inputs
  Save time
Work Remaining:
  Build VBA code to import data
  OR build VBA code to directly copy from Auftraegslist
  Set up Cron task on manager computer to run automatically

## Slide 17: Automate temperature uniformity and heating/cooling curves
What:
  Automate determination of heating/cooling time and uniformity profile
  Paddy will create new option in software to run heating/cooling and
  steps together
  New computer program will analyze Sensarray data and determine
  heating/cooling time and temperature uniformity
Work Remaining:
  Not started
  Paddy too busy
  Reading Sensarray data with text recognition is a pre-requesite

## Slide 18: Label Printer
What:
  Accurately make labels with a label printer
  Print on high temperature labels with programmable thermal transfer printer
  Canceled
  Additional production steps needed to keep UL certification

## Slide 19: Automate Temperature Display Calibration
What:
  Create new test program to guide/perform PT100 calibration protocol
  Adjusts calibration curve by comparing to simulation data
  Software department has the same idea
Work Remaining:
  Software department may build for HTU chucks if they think its worth it
  If they do, can be adapted for all PT100 calibration in production

## Slide 20: Process Change-Related Suggestions

## Slide 21: New controllers for Chuck department and more intensive testing
What:
  Find controlling problems earlier with new controllers and different tests in Chuck Department
  Replace uberschwing test with heating to 50C, headting to 80C and controlling (more accurate at detecting bad PT100 placement -- reccomended by Paddy)
Work Remaining:
  Management decision
SP110 Controller

## Slide 22: Final Visual Check/Sign-off
What:
  Have another employee visually inspect/sign-off on system
  Add to duties of upstairs/Lager worker (better if they are disconnected from production process)
  Perform after testing and prior to packaging
Work Remaining:
  Management decision/additional employee?

## Slide 23: Separate person for preparation/packing/shipping
What:
  Similar to previous reccomendation but with additional duties
  Another employee focuses on preparation of materials, visual inspection, packing, shipping
  Separate from test duties of Nuhan
Work Remaining:
  Management decision/additional employee

## Slide 24
Interested in learning more? Contact us:
  E-Mail: info@ers-gmbh.de
  Web site: www.ers-gmbh.com
  Telephone: +49 8989 4132-0
Follow us on social media:
  Twitter: @ers_gmbh
  LinkedIn: https://de.linkedin.com/company/ers-electronic-gmbh
Press contact: Miguel Resendiz
  E-Mail: m.resendiz@ers-gmbh.de
  Telephone/Mobile: +49 8989 4132-143
Contact us

## Slide 25
Thank You