## Slide 1: Endtest Analysis and Recommendations
Austin Ibele

## Slide 2: Agenda
Limitations
Overview of Recommendations
Detailed Recommendations
Future Directions

## Slide 3: Limitations
Data on product defects scarce
Products not designed for stand-alone testing
Manual process
Future reference: * = my task

## Slide 4: Immediate Recommendations
Collect Data
Document Processes!* (in progress)
End duplicate temperature display calibration
2nd visual check/sign-off before packaging
Electric Screwdriver
New temperature uniformity protocol to reduce human error*
New packing lists checked by multiple “experts”
Doc Generator V2

## Slide 5: Near-term Recommendations
Consider separate individual for packing/shipping/system inspection
Computerized Algorithm for determining Endtest tests*/
  Built into Endtest Doc Generator?
Automate temperature uniformity test* (in progress)/
Automate label printing*/
Pipe data from Auftragslist/Validate Seriennummern XLS*/

## Slide 6: Potential Recommendations
New Test Controllers for Chuck Department
Automate temperature display calibration
Eliminate kz for basic chucks
Change steps protocol
Write program to detect steps abnormalities*/
CE/UTL Prüfprotokoll only when required

## Slide 7
Detailed Immediate Recommendations

## Slide 8: Collect Data
What:
  Record all defects found in testing
  Save all test data
Why:
  Aid Root Cause Analysis
  Aid process optimization
  Assess process changes

## Slide 9: Document processes
What:
  Record process steps
  Create SOP (NO ACRONYMNS standard operating procedure)
Why:
  So other workers can perform Endtest duties
  Aid in process analysis

## Slide 10: End duplicate temperature display calibration
What:
  Stop performing temperature display calibration in Endtest
Why:
  Temperature display is already performed by Chiller/Controller department
  PT100 simulators have imperfect interunit repeatability
  Negligible impact to customers

## Slide 11: 2nd visual check/sign-off
What:
  Add visual system inspection to duties of Lager/upstairs worker
  Sign off on visual condition of all systems
  Perform prior to packaging
Why:
  This issue a common and inexcusable issue

## Slide 12: Electric Screwdriver
What:
  Electric screwdriver
  Can be applied to all departments (even small electronics)
Why:
  Partial disassembly often required for fixing/trouble-shooting
  Can be time consuming
Notes: https://www.amazon.com/DEWALT-DCF682N1-Gyroscopic-Inline-Screwdriver/dp/B011WRUODC/ref=cm_cr_arp_d_product_sims?ie=UTF8
https://www.amazon.com/DEWALT-DWAX100-Screwdriving-Set-31-Piece/dp/B00C1XZITM/ref=cm_cr_dp_d_rvw_txt?ie=UTF8
https://www.amazon.com/Adjustable-Cordless-Screwdriver-Rechargeable-Precision/dp/B07K77QC6K/ref=sr_1_21?crid=2LI4H4SPWSHC3&keywords=precision+cordless+screwdriver&qid=1551949925&s=gateway&sprefix=precision+cordle%2Caps%2C207&sr=8-21

## Slide 13: New temperature uniformity protocol to reduce human error*
What:
  Add space to enable larger handwriting
  Tablet??
Why:
  More legible
  Less reading errors

## Slide 14: New packing lists checked by multiple “experts”
What:
  Double check all new packing lists before input into SAGE, again in production
Why:
  Many delivery errors
  Missing/incorrect items on packing list often direct cause
  Insert pictures

## Slide 15: Doc Generator V2
What:
  “Alle Zusamen” single PDF
  ??
  ??
Why:
  Easier for printing
  Illustration… also document more on what this does/etc,
Notes: Suffix CH on end of order – need to discuss

## Slide 16
Detailed Future Recommendations

## Slide 17: Consider separate individual for packing/shipping/system inspection
What:
  2 people… explain more (1 does this , the other that)
  Separate employee to inspect, pack, and prepare shipping
Why:
  Endtest worker already “familiar” with system
  Greater specialization of labor = greater accuracy/efficiency

## Slide 18: Computerized Algorithm for determining Endtest tests*
What:
  Programmatically construct algorithm that specifies tests
  Can be added onto my program “Endtest Doc Generator”
  Basically a “check list” (print every time with program)
  SAGE!!!!!!!!!
Why:
  Required tests often missing
  Unneeded tests performed
  Can be more accurate than a human
  Saves time

## Slide 19: Automate temperature uniformity test* (in progress)
What:
  Combine Hz/Kz with steps for new automated protocol
  Use Autolog function of Sensarray system
  Programmatically evaluate uniformity and system performance later
Why:
  Can now perform Hz/Kz and uniformity tests overnight
  Save time and reduce error

## Slide 20: Automate label printing*
What:
  Print labels with Seriennummern spreadsheet data OR require double entry of SSN
  Zebra brand high resolution thermal-transfer printer
  High temperature labels
Why:
  Incorrect SSN on label is common problem
  Saves time by changing tedious task
Zebra ZD620, ~ $570

## Slide 21: Pipe data from Auftragslist/Validate Seriennummern XLS
What:
  Directly transfer certain data from Auftragsliste to Seriennummern XLS
  Eliminate certain input errors via Macros
Why:
  Auftragsliste generally more accurate
  Reduces human input steps
  Constrains human input

## Slide 22
Detailed Potential Recommendations

## Slide 23: New Test Controllers for Chuck Department
What:
  New/upgraded controllers for chuck department with most recent PID values
  Replace Uberschwing test with different test to find bad PT100 placement
    Heat to 50C and control, heat to 80C and control
  Computer/monitor needed
  Teach Chuck Department AC3R2 test software (easy)
Why:
  Uberschwing test is not sensitive
  Nuhan commonly finds bad PT100 placement in Endtest
  Often not noticed until steps

## Slide 24: Automate temperature display calibration
What:
  New test program that cycles controller/chiller every 5-10s, etc
  Program records displayed PT100 temperature value
  Using internally stored PT100 simulation data, program fits test data to curve and subsequently adjusts calibration values
  Use test data to generate document
Why:
  Display calibration is very tedious and time consuming

## Slide 25: Eliminate kz for basic chucks
What:
  Stop doing Kz for basic chucks
  Replace with chiller air flow assessment
  Gather cold-temp uniformity during steps
  Add Hz to steps
Why:
  Good thermal transfer from heating unit to top plate in basic chucks (few layers compared to ULN, for example)
  Chillers more powerful than in the past
  Out of spec Kz almost always from chiller problems
  Chiller air flow rate proportional to cooling time

## Slide 26: Change steps protocol
What:
  Change duration or amount of steps
  New step temperatures
Why:
  Steps arbitrarily defined
  Possible to increase steps test sensitivity if data-based

## Slide 27: Write program to detect steps abnormalities*
What:
  Program evaluates steps curves to look for abnormalities/instabilities
Why:
  Possibly more accurate than human? (humans great at pattern recognition)
  Save time printing out many graphs for documentation

## Slide 28: CE/UTL Prüfprotokoll only when required
What:
  Perform only for customers who require it
Why:
  Wasted time
Keep doing this…
Change to conform with safey