## Sheet1
| Endtest root error eg. Paperwork (Y/N) | Should catch in Endtest
1
2
3
4 | Y |  | 2 different ACBs swapped and sent to wrong customer
5 | Y |  | 2 different ACBs swapped and sent to wrong customer
6 | Y |  | SN missing off label
7
8 | Y |  | No planarity log delivered
9 | Y |  | Packing list incomplete
10
11
12 | Y |  | Parts placed in wrong box in Endtest
13
14 | Y |  | Unlabeled parts, -40C testing not done in Endtest
15
16
17 | Y |  | Missing chuck manual
18 | Y |  | Missing lock-pin, temperature uniformity not completely filled out
19 | Y |  | Packing list incomplete
20
21 | Y |  | Missing parts
22 | Y |  | Missing Parts
23
24 | Y |  | Wrong connecting cable sent
25
26 | Y |  | SN label wrong
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42 | Y |  | Missing manual
43
44 | Y |  | Shipped with mishandled RSI box -- no communication with prober
45
46 |  | Y | Missing screws, communication not working, wrong system config
47 | Y |  | Part not sent
48 | Y |  | Part not sent
49 |  | Y | Loose screw
50
51
52
53
54
55 |  | Y | blows fuse in AT mode, not LT mode. Only tested LT mode.
56
57
58 | Y |  | Specs listed on documents different from MPI specs
59
60 | Y |  | Specs listed on documents different from MPI specs
61
62
63
64
65 | Y |  | Loud and untested booster sent
66
67
68 | Y |  | Part missing, but not on packing list anyway
69
70
71
72
73
74 | Y |  | Wrong SN protocol file
75
76 | Y |  | No user manual
77
78
79
80
81
82
83
84 | Y |  | Wrong SN chuck sticker
85
86
87 |  | Y | System not stable at -50C
88
89
90
91
92 | Y |  | No display sent --> changed packing list
93
94
95
96 |  | Y | Loose screw on chiller cover
97 |  | Y | Loose screw on chiller cover
98
99
100 | Y |  | Parts not sent --> Changed packing list
101 | Y |  | Missing documents, final test not complete
102 | Y |  | Wrong SN on chuck label
103
104 | Y |  | Specs different than MPI specs
105 |  | Y | Loose screw chiller cover
106
107
108 |  | Y | Wire blocking chuck pin hole
109
110
111
112
113
114 | Y |  | Missing parts, incorrect packing list
115 | Y |  | Missing parts, incorrect packing list
116
117
118
119 |  | Y | doesn't function with 3 pins holder
120
121
122
123 | Y |  | Part delivered without screws
124 | Y |  | Loose screw on chiller, air connector not fixed on chiller, blue tape in lift pin hole
125 | Y |  | SN wrong, spec not matching MPI
126 | Y |  | Controller missing scew
127
128 | Y |  | SN wrong, cable damaged, sheet not signed
129
130
131 | Y |  | Measured out -of-spec by MPI
132
133
134
135 |  | Y | Top plate without alignment mark
136 | Y |  | Planarity protocol filled out wrong
137
138 | Y |  | SN label wrong
139
140
141
142 |  | Y | Incorrectly manufactured part not caught in final test
143
144 | Y |  | Cover screw loose
145 |  | Y | Vacuum plate connections/screws protrude too far
146
147 | Y |  | SN on planarity log incorrect
148
149
150
151
152
153
154
155 |  | Y | Screw on rear of controller missing
156 |  | Y | Chiller housing blocks cabel from plugging in\
157 |  | Y | all cabels not plugged in to test in end test
158
159 |  | Y | Pin raiser problem on Chuck
160
161
162 |  | Y | TS010 did not start -- How did this get past final test ?
163
164
165
166
167 | Y |  | Input error on planarity log
168 | Y |  | Warranty sheet SN wrong
169 |  | Y | Short circuit?